## point
point-name | point-number | value-type | point-type | efficient | base-value | alias | CtrlType
ap_exp_percent_ulimit_value | 16385 | DOUBLE | AI | 1 | 0 | ap_exp_percent_ulimit_value
participate_dr | 16386 | DOUBLE | AI | 1 | 0 | participate_dr
aggregator_status | 16387 | DOUBLE | AI | 1 | 0 | aggregator_status
agc_status | 16388 | DOUBLE | AI | 1 | 0 | agc_status
fcr_p1_setpoint | 16389 | DOUBLE | AI | 1 | 0 | fcr_p1_setpoint
fcr_p2_setpoint | 16390 | DOUBLE | AI | 1 | 0 | fcr_p2_setpoint
fcr_p3_setpoint | 16391 | DOUBLE | AI | 1 | 0 | fcr_p3_setpoint
fcr_p4_setpoint | 16392 | DOUBLE | AI | 1 | 0 | fcr_p4_setpoint
fcr_p5_setpoint | 16393 | DOUBLE | AI | 1 | 0 | fcr_p5_setpoint
fcr_p6_setpoint | 16394 | DOUBLE | AI | 1 | 0 | fcr_p6_setpoint
fcr_p7-1_setpoint | 16395 | DOUBLE | AI | 1 | 0 | fcr_p7-1_setpoint
fcr_p7-2_setpoint | 16396 | DOUBLE | AI | 1 | 0 | fcr_p7-2_setpoint
fcr_p8_setpoint | 16397 | DOUBLE | AI | 1 | 0 | fcr_p8_setpoint
fcr_mode_setpoint | 16398 | DOUBLE | AI | 1 | 0 | fcr_mode_setpoint
fcr_p1_value | 25089 | DOUBLE | AO | 1 | 0 | fcr_p1_value
fcr_p2_value | 25090 | DOUBLE | AO | 1 | 0 | fcr_p2_value
fcr_p3_value | 25091 | DOUBLE | AO | 1 | 0 | fcr_p3_value
fcr_p4_value | 25092 | DOUBLE | AO | 1 | 0 | fcr_p4_value
fcr_p5_value | 25093 | DOUBLE | AO | 1 | 0 | fcr_p5_value
fcr_p6_value | 25094 | DOUBLE | AO | 1 | 0 | fcr_p6_value
fcr_p7-1_value | 25095 | DOUBLE | AO | 1 | 0 | fcr_p7-1_value
fcr_p7-2_value | 25096 | DOUBLE | AO | 1 | 0 | fcr_p7-2_value
fcr_p8_value | 25097 | DOUBLE | AO | 1 | 0 | fcr_p8_value
fcr_mode_value | 25098 | DOUBLE | AO | 1 | 0 | fcr_mode_value
bess_ap_target_value | 25099 | DOUBLE | AO | 1 | 0 | bess_ap_target_value